AQUACHECK LABORATORIES LIMITED

P.O. Box 12084 - 00400

Westlands Commercial Centre

Ring Road,Nairobi kenya

Email: aquachecklab@gmail.com

TEL: 0720375629/0721 800 041

AQC/MSTR/02 – MASTER LIST OF LABORATORY EQUIPMENT

|  | EQUIPMENT | MODEL | SERIAL No. / CAT No. |
| --- | --- | --- | --- |
|  | COLORIMETER | HACH DR 890 | S/N 111290C87759 |
|  | PH PROBE | HACH ISFET PH W77-SS | 71420 6005 |
|  | ION SELECTIVE PROBE | SENSION PH | 240 |
|  | ION SELECTIVE PROBE | HACH 51910-00 PH | 131144002 |
|  | MULTI METER | HACH SENSION0 156 | 11120C090220 |
|  | MULTI METER | HACH H 160 | 150915706 |
|  | METER | SENSION PH1 | 227030 |
|  | POCKET METER | HACH POCKET PRO MULTI 2 | 170528001143 |
|  | POCKET METER | HACH POCKET PRO MULTI 2 | 17058001010 |
| 10. | COMPUTER | HP ELITEBOOK FOLIO 9840M | 5CG548583V |
| 11. | PRINTER | HP | CNOBS23109 |
| 12. | COMPUTER | TOSHIBA CQ 158 SATELITTE | D5060 260 6BLA |
| 13. | ANALYTICAL BALANCE | A&D COMPANY LIMITED | Q402130414 |
| 14. | UV SPECTROPHOTOMETER | ANALYTIKJENA SPECORD-50 | 223F1251 |
| 15. | B.O.D OXITOP SYSTEM | WTW XYLEM OXITOP IS 6 | 19110495 |
| 16. | C.O.D DIGESTOR/THERMOREACTOR | WTW XYLEM CR 2200 | 19130237 |
| 17. | AUTOCLAVE | JIBIMED | YX-18LM |
| 18. | INCUBATOR | JTD-6000 | DPN-9025 |
| 19. | MULTI-PARAMETER METER | WTW XYLEM MULTI 3630 IDS | 19111195 |
| 20 | CONDUCTIVITY PROBE | WTW TETRACON IDS 925 | 19120200 |
| 21. | PH PROBE | WTW IDS | C190706001 |
| 22. | DISSOLVED OXYGED PROBE | WTW IDS FDO 925 | 19110683 |
| 23. | COLORIMETER | WTW PHOTOFLEX STD | 19110147 |

AQC/MSTR/02