CONTROL OF RECORDS AND INFORMATION PROCEDURE

1.0 	 Purpose:

This procedure defines the methods by which records are stored and maintained to allow there is efficient access and retrieval, defines retention times and responsibilities for maintenance and secure disposal. This procedure further describes the process in which AQC uses to identify, collect, index, access, file, store, maintain and dispose quality and technical records.

- Scope:

This procedure applies to all quality and technical records generated in the water testing laboratory. Also this procedure applies to all records generated in the course of implementation of the QMS, which relate to the performance of water testing, and related activities which demonstrate the effective implementation of the Quality Management System.

3.0	References:

  - ISO 9001:2015

  - ISO 17025:2005

  - AQC.QM-01

4.0	Abbreviations and Definition of terms used

4.1 	The terms used in AQC.QMS-01and AQC.QMS.SOP-02 shall apply.

4.2	Records

For the requirements of ISO/IEC 17025, AQC define a record as objective evidence of actions taken or observations made while implementing the Quality Management System. This includes both hard-copy and electronic records.

4.3 	Quality Records

These are audit reports, management reviews, corrective action, preventive action, personnel records, Proficiency Tests, and equipment records.

4.4 	Technical Records

These are original observations, calculations, derived data, information needed to establish an audit trail, calibration records and copies of test reports. At AQC water analysis reports are considered to be the key Technical records.

5.0 	Records of change

| NO. | Date | Details of changes |  | Title/ Name | Signature |
| --- | --- | --- | --- | --- | --- |
|  | (dd-mm-yyyy) | Page | Clause/Sub-clause and comment | By: |  |
| 01 | 21/06/2021 | All | - Included Tables and Appendices on the Header note. - Edited Clause 8.0 | QM |  |

6.0 	Distribution table

The controlled copies of this document are issued in accordance with appendix C.

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 01 | QUALITY MANAGER |
| 04 | 02 | HUMAN RESOURCE MANAGER |
| 05 | 02 | ACCREDITATION BODY ( KENAS) |

7.0	Principal Responsibilities

  - The Quality Manager is responsible for the adequacy of this procedure.

  - The Technical Manager shall approve the changes of this SOP which extrapolates the changes to all the records, data and information

  - The functional heads are responsible for the implementation of this procedure

8.0	Procedures

8.1		Quality Records

8.1.1	 Identification

Quality records are identified with a descriptive title that clearly labels the record.

8.1.2	 Collection

The individuals who are responsible for collecting quality records are identified in the specific operating procedures. In general, it is the user of the records e.g.  the Quality Manager, Technical Manager or the laboratory technician.

8.1.3	 Indexing

Each record is assigned a unique name, number or alphanumeric identification to distinguish it from other records, e.g. AQL.MSTR-01, AQC.QMS.SOP-02 etc.

8.1.4 Access

Quality records are stored at the AQC laboratories and are readily accessible to individuals requiring information contained in the records. Following is a list of quality records and the individual responsible for their maintenance:

| RECORD | RESPONSIBLE INDIVIDUAL |
| --- | --- |
| Training Records | Quality Manager |
| Purchasing Records | Quality Manager |
| Internal Audits | Technical Manger |
| Corrective Actions | Technical Manger |
| Preventive Actions | Technical Manger |
| Proficiency Tests | Quality Manager |
| Supply Verification Results | Quality Manger |
| Management Reviews | Technical Manger |
| Nonconforming Work | Technical Manager |
| Complaints | Technical Manger |
| Equipment | Quality Manager |

8.1.5	Filing and Maintenance

Quality system records are filed and maintained at the AQC office and by the individuals responsible for the records i.e. either the Technical or Quality Manger. Electronic quality records are stored on the AQC Local Area Network (LAN). The LAN is backed up on the AQC Server.

8.1.6 	Retention

Quality records are kept for a minimum of two years and may be retained longer if necessary or convenient.

8.1.7 	Disposition

Records are disposed when the retention time has been exceeded. Disposition may be to discard or destroy the records or to put them in long-term storage i.e. archived. The QM is responsible for disposition of the quality records.

8.1.8 	Storage

After the retention time, if long-term storage is required, quality records will be placed in the AQC Central Records storage in a dedicated location that will be determined by the Quality Manager.

8.2		Technical Records

8.2.1	 Identification

Each water analysis report (Certificate) is given a unique sample ID that is serialized.

8.2.3 	Collection

In general, water analysis certificates will contain the records required to support reported results, conclusions and interpretations such that in the absence of the analyst, other personnel, as assigned by the Technical Manager, could evaluate what had been performed and interpret the data. Once the analysist has finished the analysis of the sample he/she will then prepare a draft report. The draft report will then be reviewed by the water chemist and the environmental microbiologist to ensure that all information is complete and correct. Once the draft has been approved then the final copy can now be printed. The QM and TM will then review the final water analysis report to ensure the information is complete Office and the certificate is kept in the safe Storage Cabinet for dispatch to the respective customers or for further filling. The water analysis certificate is complete at this point.

8.2.4	Indexing

All water analysis certificates/reports generated in the laboratory will include the following: 1) a unique sample ID e.g. 			QT/1234../2021 for potable/drinking water, dialysis water and for effluent analysis. 2) Page numbers indicating the total number of pages (page x of y), 3) Comments as the interpretation of the results.

8.2.5 	Access

Technical records are stored in the Storage Cabinet which is a controlled access area that provides centralized storage, management, retrieval and final disposition for water analysis certificates by utilizing:

- Non-office space storage

- Ready retrievability in a secure area to help prevent damage, deterioration, or loss

- Centralized, computerized tracking and circulation

- Uniform scheduling, destruction and archiving

The Storage Cabinet and the Central Records storage is accessible to the quality and the technical manager when there is need to locate the water analysis certificates and to see that they are signed out appropriately.. There is no public access to the Central Records storage or other Storage Cabinets.

8.2.6 Filing and Maintenance

AQC maintains its water analysis reports in the Central Records storage, as well as the other Storage Cabinets.. The original raw data from the water analysis from the laboratory will be backed up to another media such as a laptop or desktop computer.

8.2.7 Retention

Technical records are retained in the Central Records storage, as well as the Storage Cabinets for a period of three years.

8.3		Records retention and long-term storage.

    - Files should always be filed under broad topical categories for ease of irretrievability.

    - Records relating to the operations of the laboratory shall be maintained within each laboratory for a period of 3 years, after which time they shall be archived.

    - Records relating to Inspection shall be stored for at least 5 years or as defined in specific contract entered between parties responsible. (Refer to AQC.QM-01 for AQC scope of activities. Servicing and maintenance is not part of the scope within this accreditation. This QMS guides entire records management of AQC.QMS.SOP)

    - Archived records are maintained in a secure storage area of the building within AQC premises.

    - Laboratory records shall be maintained for a period of 3 YEARS following the date of generation or issue of test report.

    - Records relating to the operation of quality system are maintained for a period defined in the appropriate procedure.

    - Archived records are stored in boxes labelled in front with the contents, dates covered and destruction dates if applicable.

    - Where records are held electronically in the server or electronic storage through the network controls to be applied for protection of back-up data including measures to prevent unauthorized access to or amendment of data.

  - Retention times / responsibilities for records.

8.3.1 The heads of the various functional units are responsible for the accuracy, legibility and storage of the records to ensure confidentiality and access to only authorized persons.

  - Archiving and purging of records.

    - At least not later than three months after the start of a new year, the functional Head shall notify the Manager by a memo of the records that are due to exceed the holding periods. After which, the Manager will instruct the Head of function to submit the said records.

    - Records requiring confidential handling shall be/will be destroyed such that confidentiality is maintained. Consideration will be made on the volume and nature of documents and the best means of disposal whether shredding or incinerating shall be identified.

  - Confidentiality of records

    - All records that pertain to clients’ information shall be treated as confidential and no unauthorized personnel will view or remove them.

9.0	APPENDICES

9.1 Appendix A: - Sample data sheet

9.2 Appendix B: - Laboratory data record sheet

9.3 Appendix C: - Distribution list of controlled documents

9.1 APPENDIX A: - SAMPLE DATA SHEET

| LPO – Order No. | Sampling Date | Date Submitted | Expected Service Time | Customer Name | Contact Person | Sample Description | Test Requested |
| --- | --- | --- | --- | --- | --- | --- | --- |

9.2 APPENDIX B: - SAMPLE LABORATORY DATA RECORD SHEET/ LAB TEST REPORT

Sample description:			BOREHOLE WATER														Sampling Date: 		 	30/05/2021

Submitted by:	              		MR.XYZ																	Received on:	 			30/05/2021

Client Name:	        			AMOS KAMAU			  												Date of Report Issue:	 	02/06/2021

# Sampled by: 				GHK																	Sample ID:				QT/03/2021

| PARAMETERS | METHOD | RESULTS | KS EAS 12:2018 TREATED PW | REMARKS |
| --- | --- | --- | --- | --- |
| PHYSICAL TESTS |  |  |  |  |
| pH(pH Units) | Direct Method | 9.65 | 6.5 – 8.5 | FAIL |
| Color (Pt. Co. APHA) | Hach Method: 8025 | 25 | 15 | FAIL |
| Turbidity(NTU) | Hach Method: 8126 | 10 | 5 | FAIL |
| Total Suspended Solids (mg/L) | Photometric:8006 | 3.0 | NIL | FAIL |

Sampling Location:           NAIROBI

ns: No Set Standard, ND: Not Detect, KS: Kenya Standard, eas: East African Standard, L.O.D: Limit of Detection, ND: Not Detected. USEPA: United States Environmental Protection Agency, APHA: American Public Health Association.MIC: Microbiology.CFU: Colony forming units.SPP: species. KS: Kenya standard.

Parameters labeled with (*) are subcontracted

The results only apply to the sample submitted and the recommendations/comments are only based on the tested parameters, the test report shall not be reproduced without written approval of Aquacheck laboratories ltd.

COMMENTS.

The sample submitted to the laboratory was found to be compliant with KS 12:2018 specifications for treated potable water.

MR.  XYZ								             																	       MR. ABC

Water Chemist				         				       															       Lab Analyst

9.3 APPENDIX C:  – DISTRIBUTION LIST OF CONTROLLED DOCUMENTS

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 01 | QUALITY MANAGER |
| 01 | 01 | TECHNICAL MANAGER |
| 01 | 01 | ACCREDITATION BODY (KENAS) |

-End of document-