CONTROL AND APPROVAL OF DOCUMENTS PROCEDURE

1.0 	 Purpose

To set out the organisational format for procedure for the master list document control including laboratory manuals, procedures, work instructions, test methods, work books and forms used in the laboratory for a quality system.

2.0	Scope

2.1. This procedure applies to traceability ease of all quality systems documentation and acts as the procedure for preparation, control, distribution, amendment, updating, retrieval, review and authorization of all documentation related. It also covers the authorization for use of non-standard test methods in the laboratories.

3.0	References

  - AQC.QM-01

  - ISO/IEC 17025: Clause 4.3

  - ISO 9000:2005, Quality Management Systems- Fundamentals and vocabulary.

  - ISO 9001:2015, Quality Management Systems Requirements.

  - ISO 19011:2002, guideline for quality and/or environmental management system auditing

4.0	Abbreviations/Terms used

  - The terms used in Quality manual (AQC.QM-01) shall apply.

  - Standard Operating Procedure (SOP) – a procedure adopted for repetitive use when performing a specific test.

  - Quality Manager (QM)

  - Technical Manager (TM)

6.0 	Distribution table

The controlled copies of this document are issued in accordance with Appendix C.

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 02 | 02 | QUALITY MANAGER |
| 03 | 03 | TECHNICAL MANAGER |
| 04 | 04 | ACCREDITATION BODY (KENAS) |

7.0	Principal Responsibilities

  - The Quality Manager has the principle responsibility for the implementation of this procedure.

  - The TM is responsible for ensuring that all relevant organization documentation is adequate and available to all laboratory staff to use.

8.0	Procedures

    - Quality system and procedures

      - These shall be developed and maintained in accordance with AQC Quality Manual (AQC.QM). AQC has established procedures that controls all documents such as government regulations, standards, company policies, control charts, test methods, as well as work instructions and manuals that form part of its Management System and maintains procedures of the same.

      - The SOP’s, Work Instructions and Test Methods used in AQC have the following features:

      - a) The authorized editions of SOP’s and TM’s are available at the laboratory where operations essential to the effective functioning of the laboratory are performed.

      - b) All the documents i.e. SOP’s and TMs are periodically reviewed and, where necessary, revised to ensure continuing suitability and compliance with applicable requirements. The review of documents is usually carried out after every one year.

      - c) Any invalid or obsolete document in the laboratory is promptly removed from all points of issue or use, or otherwise assured against unintended use.

      - d) Any obsolete document retained for either legal or knowledge preservation purposes are suitably marked, (i.e., stamped "OBSOLETE" and dated).

    - Manuals

      - These manuals shall be prepared and maintained by the respective head as outlined in this procedure and indexed according to guidelines in this document.

      - The contents of these manuals should be as a minimum include all the items stated in clause 2.0 above.

    - Laboratory Test Methods (TM)

      - These shall be controlled by the respective heads of laboratory and indexed as guided in this procedure.

      - Annexes generated by these TM shall be indexed and controlled as laboratory datasheets according to this procedure.

      - Laboratory test methods (TM) shall be authorized by the Technical manager and issued to the staff that is responsible for its review and /or as stated in the laboratory manual.

      - A record of distribution and control of all TM held by each laboratory will be prepared by each laboratory head using the format given in Appendix C.

    - Work Instructions

      - These shall be developed by the Quality manager but the ones to be used in the function will be developed by laboratory analyst.

      - A record of all work instructions generated shall be maintained by the Manager in charge

    - Forms and Data Sheets

      - Forms and datasheets generated as result of a procedure, work instruction or SOPs shall be indexed as per this procedure.

      - Forms and datasheets with existing numbers shall be identified by the existing form number or title, when revised they shall be given an index number.

      - Forms and datasheets in existing use without revision number shall be at “base-line” issue and there is no need to revise the form to include revisions.

      - Once modified, the form shall be given a revision number commencing with …Rev 0 and subsequent revisions given incremental revision numbers Rev 1, Rev 2….

    - Work books or record books

      - These shall be counter books of any quire depending on use.

      - They shall be indexed as stated in this procedure.

      - They shall be issued by the Quality Manager.

      - Analysts shall be issued with only one work at a time.

      - Analyst shall be responsible for the work books issued to them and return them to Quality manager once filled up.

      - The Quality Manager shall maintain a list of all work books in use and this list shall include; Name of analyst, date issued, Work book identifier, Volume number, signed for issue by analyst, signed for returned by analyst and the date returned. The list could be a register or filed loose sheet.

  - CONTROL AND DISTRIBUTION OF DOCUMENTATION

    - Controlled copies

      - A record of controlled copy holders will be annexes to the respective departmental documentation.

      - A record of all controlled copies held by each function shall be prepared. The Head of function shall send a copy of the record to the General Manager and Quality Manager who hold a master copy of all documents.

      - A master list shall be maintained of the copies distributed.

    - Uncontrolled copies

      - Staffs are discouraged from photocopies of documents. Any document photocopied by staff for individual use shall be stamped uncontrolled and shall not be used for audit purposes. Such documents shall also not be used  as reference in case of discrepancies

      - Printed copies for external distribution are uncontrolled if unstamped.

    - Distribution (controlled copies)

      - All procedures, manuals and work instructions shall have as an appendix, a distribution list of all controlled copies. Staff shall use only authorized forms, data sheets and procedures for official work.

    - All records generated or called from procedures, test methods and work instructions shall be filed or kept in accordance with record control procedure.

    - All laboratory documentation or records hall be stored in accordance with procedure AQC.QMS.SOP-02.

  - REVIEW AND UPDATE

    - All quality system documents shall be subject to periodic review or as necessary (e.g. as a result of changes in the management of laboratory, company etc.), and as a minimum; they shall be reviewed and revised, updated, replaced or confirmed at least after every three years.

    - The review shall be to assess the adequacy of the documents.

    - Results of such reviews shall be documented in the “records of change” section of the relevant document. The results of the review shall be kept in a file in the laboratory.

    - If no revision is made, the result shall still be recorded as stated in clause 8.4.3 above. This will act as evidence that the document was looked at but no review was necessary.

    - Users of external documents shall review them at least once a year and the results documented.

CHANGES/AMENDMENTS

    - Changes/Amendment and Approval

      - Changes to documents and data shall be reviewed and approved by the same functions that performed the original review and approval.

      - Any member of staff may raise request for amendment when necessary.

      - Request for amendments shall be made by the TM to the QM using the document change/amendment request from indicating the justification for the request.

      - The QM together with function concerned shall assess the request and either approve or disapprove. If approved, the impact of such change shall be assessed and noted in the relevant section of the changes/amendment form.

      - Changes to documents shall be reviewed and approved by the Quality Manger, Technical Manager, Laboratory analyst. The designated personnel have access to pertinent background information upon which to base their review and approval.

      - Where practicable, the altered or new text shall be identified in the document or the appropriate attachments i.e. when a second document is printed the original version of the document is maintained.

      - AQC’s document control system allows for the amendment of documents by hand pending the re-issue of the documents. A revised document shall be formally re-issued as soon as practicable.

      - Procedures have been established to describe how changes in documents maintained in computerized systems are made and controlled.

    - Hand written amendments

Amendment of documents that are hand written shall be permissible only if the relevant procedure as per Clause 8.4.6.1 – 8.4.6.4 above is followed and authorized.

    - Revision control

All quality system documents, records and data revision shall be controlled by the Quality Manager.

  - AUTHORIZATION /APPROVAL

    - Overall company documentation shall be authorized by the Q.M. The functional Standard Operating Procedures, work instruction and test methods shall be authorized by functional managers i.e. the Technical Manager or laboratory analyst.

    - The Laboratory Test report shall be authorized by the water chemist and environmental microbiologist by signing of the document before being released to the customer.

    - In the event that one is not  available for signing the test report, then the person in charge f the laboratory at that time will append their signatures only after consultation and indicate “for”. The authorised signatories are indicated in the Appendix A under form 1.

    - A master list on document control procedure identifying the current revision status and distribution of documents in the management system has been established and is readily available to preclude the use of invalid and/or obsolete documents.

  - ELECTRONIC DOCUMENTS

    - A backup of all documents kept electronically shall be available.

    - The Quality Manager shall ensure that any laboratory electronic document is kept as per the requirements of ISO 17025.

  - DOCUMENT IDENTIFICATION

AQC has four levels of documents, i.e.

        - Corporate documents (includes quality manual and quality management  procedures e.g. control of documents, internal audits, corrective action and preventive action)

        - Functional manuals and procedures (e.g. SOP, and Test Methods procedures)

        - Work instructions which are generated from functional manuals and procedures

        - Forms, registers, record books and also work books

All the management system documents generated by AQC i.e. QMS.SOP’s and test methods will be uniquely identified. Each of these documents will have the following features;

- Document number: AQC.QMS.SOP-number and AQC.TM.Parameter-number.

- Version number: e.g., 01, 02, 03, 04 etc.

- Issue date, i.e. the date the document was issued

- Edition date i.e. the date in which the document was edited.

- Total number of pages.

- Total number of tables in the document

- Department i.e. the department in which the documents originates from

- Issue to: the document will be issued to specific entities or heads of departments’ e.g. KENAS, QM, TM, Laboratory analyst etc.

- Author: This will indicate the person who generated the document.

- Revision date; this will indicate the next date of revision of the given document.

- Appendices: this will indicate the total number of appendices in the entire document

- Copy Number; this will indicate the specific holder of the given document i.e. either KENAS, QM, TM  or laboratory analyst

9.0	APPENDICES

9.1 Appendix A: –Authorised Signatories.

9.2 Appendix B: – History of changes tables.

9.3 Appendix C: – Distribution list of controlled documents.

9.1 APPENDIX A:  – AUTHORISED SIGNATORIES.

| S/No. | Staff name | Position | Sign |
| --- | --- | --- | --- |

AQL/QMS/SOP-03/F1

9.2 APPENDIX B:  – HISTORY OF CHANGES TABLE

| NO. | Date | Details of changes |  |  |  | Title/ Name | Document |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | (dd-mm-yyyy) | Page | Clause/Sub-clause and comment |  |  | By: |  |
|  | Prepared by | HOL |  | Date |  | Signed |  |
|  | Authorised by | GM |  | Date |  | Signed |  |
|  | Authorised by | QM |  | Date |  | Signed |  |
|  | Authorised by | TM |  | Date |  | Signed |  |

AQL/QMS/SOP-03/F2

9.3 APPENDIX C:  – DISTRIBUTION LIST OF CONTROLLED DOCUMENTS

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 02 | GENERAL MANAGER |
| 02 | 02 | QUALITY MANAGER |
| 03 | 02 | TECHNICAL MANAGER |
| 04 | 02 | HUMAN RESOURCES MANAGER |
| 05 | 02 | ACCREDITATION BODY (KENAS) |

-End of document-