INTERNAL AUDITS AND SYSTEMS REVIEW PROCEDURE

1.0 	 Purpose

  - The purpose of this procedure is to describe how company plans, monitors and conducts Internal Audits and review of the quality Management System in accordance with ISO 19011 against ISO 17020, ISO 17025, and ISO/IEC Guide 65 and to applicable accreditation standards. In addition, this procedure is used to assess the effectiveness of the implementation of the Quality Management System, and to identify opportunities for improvement as defined in the Quality Manual and systems review procedures.

2.0		Scope

This procedure applies to audits of all activities that comprise the QMS implemented in AQC as laid down in the Quality Manual (AQC.QM) based on related documentation and records, including policies, practices, and results of Aquacheck services.

- References:

  - AQC.QM-01

  - ISO/IEC 17025: CLAUSE 4.14 & 4.15

  - ISO 9000:2005, Quality Management Systems- Fundamentals and vocabulary.

  - ISO 9001:2015, Quality Management Systems Requirements.

  - ISO 19011:2002, Guidelines for Quality and/or Environmental Management System Auditing

4.0		 Abbreviations / terms used

For the purposes of this procedure, the terms and abbreviations used in Laboratory manual and Quality Manual, shall apply in addition to the following:

  - Auditee: This is a specific functional department or section to be audited under the responsibility of the respective Head or Manager.

  - Audit team leader: An Internal Auditor designated or appointed to lead an audit.

  - Audit team: One or more internal auditors selected to conduct an audit

  - Audit scope: This is the extent or boundaries of an audit which may include a defined physical location, functional positioning, activities and processes as well as time period for performance of an audit.

5.0 	Records of change

| NO. | Date | Details of changes |  | Title/ Name | Signature |
| --- | --- | --- | --- | --- | --- |
|  | (dd-mm-yyyy) | Page | Clause/Sub-clause and comment | By: |  |
| 01 | 20 /06/2021 | All | - Included Tables and Appendices on the Header note. - Changed Appendices from 02 to 07 - Changed Version No. from 00 to 01 | QM |  |
| 02 | 20 /06/2021 | All 5 | - Changed page numbers from 11 to 12 - Changed Version No. from 01 to 02 - Clause 8.7 was modified - Clause 8.8 was introduced | TM |  |

6.0 	Distribution table

The controlled copies of this document are issued in accordance with appendix G.

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 02 | GENERAL MANAGER |
| 02 | 02 | QUALITY ASSURANCE MANAGER |
| 03 | 02 | TECHNICAL SERVICES MANAGER |
| 04 | 02 | ADMINISTRATION MANAGER |
| 05 | 02 | ACCREDITATION BODY (KENAS) |

- Principal Responsibilities

  - Internal Audits

    - The Quality Manager (QM) has the overall responsibilities for planning, coordinating, executing and monitoring internal audits. This includes drawing up of annual audit programmes, audit notifications, appointment of auditors, follow up of corrective actions, and presentation of overall audit results reports to senior management.

    - The Quality Manager is responsible for ensuring that this procedure is implemented and that it remains adequate for its intended purposes.

The Head of Section unit is responsible for ensuring that the areas under their control cooperate with the internal auditor and QM, and for ensuring execution of nonconformity corrective actions within the agreed time scales.

    - The Audit Team Leader (Auditor) – Technical Manager (TM) is responsible for making necessary arrangements with the auditee, drawing an audit plan, general management of an audit i.e. specifically performance at opening and closing meetings, auditing, resolving problems during the audit, and filing audit reports with QM.

8.0		Procedures

  - General requirements

    - An annual internal audit programme shall be prepared and issued by Quality Manager covering all activities that comprise the QMS implemented in AQC.

    - Each functional area and its constituent departments, sections shall be audited at least once a year or as deemed necessary. More audits may be performed at certain areas or activities depending on the status of nonconformity/complaints or deemed to be critical to its integrity or required by other standards implemented (e.g. ISO/IEC 17025).

    - Each function may conduct functional internal audits depending on the applicable service standard implemented.

    - Unscheduled or unannounced audits may also be conducted as maybe necessary.

  - Audit programme

    - The annual internal audit programme is a series of audit covering the QMS for the year. The programme schedules dates/months and assigns audit teams for all auditable activities per functional area.

    - The audit programme is a matrix with columns and rows fields identifying dates/months, location, functional departments and sections where practicable.

    - Once the audit programme has been prepared, it shall be submitted for approval by Quality manager after which technical Manager will publish and distribute to all functional departments.

    - For unscheduled or unannounced, function specific internal audits, a similar programme shall be developed and circulated as necessary.

  - Audit team selection

    - The Quality Manager or delegated QMS coordinator shall nominate from staff trained and competent in internal auditing to carry out internal audits.

    - Staff assigned (Internal Auditor) to carry out audits shall be as much as possible independent or have no direct responsibility of the function/activity being audited.

    - The nominated internal auditor shall be part of an audit team which may consist of one or more auditors depending on the scope and duration of the audit. Each audit team shall be assigned an audit team number.

    - The Quality Manager shall also name the audit team leader who shall perform specific responsibilities.

    - A record of all trained staff in Internal Audit shall be maintained by Quality Manager and updated based on the evaluation of Internal Audit results.

  - Audit notification

    - Once the audit programme has been issued, the Quality Manager shall notify the auditee and audit team leader (the parties) of the proposed date of the audit. All parties will be asked to acknowledge notification of arrangements and the request agreement.

    - Closer to the time of the audit, the audit team leader or Quality Manager shall issue a detailed audit plan to the auditee. Where this is not practicable, this shall be communicated at the earliest opportunity to the auditee.

  - Audit Phases

The AQC internal audit process consists of 5 phases:

a)	Initial system review;

b)	Audit preparation and auditors briefing;

c)	Document review audit and audit plan;

d)	On-site and witness audit activities; and

e)	Audit close-out and follow up activities

  - Audit flow chart

Audit timetable developed

Audit timetable developed

Auditor(s) assigned

Auditor(s) assigned

Audit preparation

Audit preparation

Conduct audit

Conduct audit

Report audit findings

Report audit findings

Corrective action(s)

Agreed & audit report

Completed

Corrective action(s)

Agreed & audit report

Completed

YES

YES

Corrective

Action

Identified?

Corrective

Action

Identified?

Follow up corrective action(s)

Follow up corrective action(s)

NO

NO

Audit report completed

Audit report completed

Audit report completed

Audit report completed

  - Audit findings

8.7.1	In the event that the audit findings cast doubt on the effectiveness of the operations or on the correctness or validity of water analysis results, AQC will then take timely corrective action according to the laboratory’s corrective action procedure as indicated in AQC.QMS.SOP-06.

8.7.2	 The customer is notified if investigations show that non-conformances related to audit results also have affected work performed for the customer. This notification is documented.

  - Management Review Procedure

    - AQC’s top management performs, as a minimum, periodic reviews to determine the fitness and effectiveness of the quality system in achieving the stated quality objectives. This procedure establishes the method by which management reviews are performed within AQC.

    - A periodic review, i.e., annual of the quality system is performed. This review examines the quality system and determines if it meets the conditions set by AQC and the ISO/IEC 17025 standards. The review will serve as a guide in making future determinations towards the effectiveness and direction of the quality system. The quality system may need to be modified due to changes that have or are expected to take place in the organization, facilities, staffing, equipment, activities or workload.

    - The Quality Manager assimilates the needed information and records for the review and forwards them to the General Manager.

    - Review meeting should include at least the following main agenda items:

- Suitability of policies and procedures;

- Reports from managerial and supervisory personnel;

- Outcome of recent internal audits;

- Effectiveness of previous actions taken;

- Corrective and Preventive Actions;

- Assessments by external bodies;

- Results of interlaboratory comparisons or proficiency tests;

- Changes in the volume and type of the work;

- Client feedback;

- Complaints;

- Recommendations for improvement, and

- Other factors, such as Quality Control activities, resources and staff training.

8.8.5   Results of the management review meeting should feed into the laboratory planning system and should include:

- Revision of the quality policy and medium and long term goals.

- A planed program for preventive action including the setting of objectives for the coming year.

- A formal action plans including time lines for the implementation of decided changes (objectives) to the quality system and to the operations of the laboratory.

8.8.6 	Records of systems reviews shall be documented in form of minutes of the review meetings together with clear indications as to the actions to be taken, by whom and in what time limit.

8.8.7 The Quality Manager shall document the minutes. It is the Quality Manager's responsibility to ensure that all actions arising from reviews are recorded. The records should be readily accessible and retained for an agreed period of time.

8.8.8 	Follow-up of systems reviews shall be done using a post systems review record.

9.0 	ANNEXES

  - Appendix A:  Internal Audit Timetable

  - Appendix B:  Audit Attendance form

  - Appendix C:  Audit checklist

  - Appendix D:  Internal Audit report format

  - Appendix E:  Corrective Action Form

  - Appendix F: Management Review Meeting attendance form

  - Appendix G: Distribution list of controlled documents

9.1 APPENDIX A: SAMPLE INTERNAL AUDIT TIMETABLE

| Factors reviewed/accounted | January | February | March | April | May | June | July | August | September | October | November | December |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company Policies and procedures suitability |  |  |  |  |  | √ |  |  |  |  |  |  |
| Internal audit and Management Review reports |  |  |  |  |  | √ |  |  |  |  |  |  |
| Assessment by external bodies (NEMA) |  |  |  |  |  |  |  | √ |  |  |  |  |
| Corrective Actions |  |  |  |  |  | √ |  |  |  |  |  |  |
| Complaints and irregularities analysis |  |  |  |  |  | √ |  |  |  |  |  |  |
| Purchasing, Services and Supplies |  |  |  |  |  | √ |  |  |  |  |  |  |
| Accommodation and Environmental Conditions |  |  |  |  |  | √ |  |  |  |  |  |  |
| Customer feedbacks and evaluations |  |  |  |  |  | √ |  |  |  |  |  |  |
| Inter laboratory and proficiency tests results checks |  |  |  |  |  | √ |  |  |  |  |  |  |
| Sampling and reporting results |  |  |  |  |  | √ |  |  |  |  |  |  |
| Preventive Actions |  |  |  |  |  | √ |  |  |  |  |  |  |
| Quality Control and Quality Assurance programs |  |  |  |  |  | √ |  |  |  |  |  |  |
| Staff training and human resources development |  |  |  |  |  | √ |  |  |  |  |  |  |
| Continuous improvement program & recommendations |  |  |  |  |  | √ |  |  |  |  |  |  |
| Equipment |  |  |  |  |  | √ |  |  |  |  |  |  |
| Measurement Traceability and Calibration |  |  |  |  |  | √ |  |  |  |  |  |  |

NOTE:

- The Quality Manager, after consultation with the Audit Team Leader and Auditee / Departmental Representative, shall set an agreed date of the actual audit for preparation purposes.

- For unscheduled or unannounced and function specific internal audits, a similar program shall be developed and circulated as necessary.

Sign 			                             	DATE                                    	QM

Sign 			                                 DATE                			 TM

AQC.QMS.SOP-05/F1

9.2 APPENDIX B: SAMPLE INTERNAL AUDIT ATTENDANCE FORM

Date: _____________________

S No: _____________________

Department / Functional Area

Auditee / Department Representative:

Audit Team Leader:

Scope of Audit / Aspects Audited:

| NAME & DESIGNATION | MEETING |  |
| --- | --- | --- |
|  | Start Time: | End Time: |
|  | Opening (Sign) | Closing (Sign) |
| 1. |  |  |
| 2. |  |  |
| 3. |  |  |
| 4. |  |  |

Meeting Remarks by Team Leader…………………………………………………………………………………………………………………………………………..…………………..

……………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….……

Sign……………………………

AQC.QMS.SOP-05

9.3 APPENDIX C: SAMPLE AUDIT CHECKLIST

Department / Functional Area					 Date:

Representative: 					Designation:

Name of Auditor: 				Designation:

| AUDIT REFERENCE Sheet No |  |  |  |
| --- | --- | --- | --- |
| Item No. | Requirement | Activity Compliance (Y/N/Not Applicable) | Comments/Remarks |
|  | Management requirement |  |  |
|  | Organization |  |  |
|  | Management system |  |  |
|  | Document Control |  |  |
|  | Review of requests, tenders and contracts |  |  |
|  | Subcontracting of tests and calibrations |  |  |
|  | Purchasing, Services and Supplies |  |  |
|  | Complaints and Service to the customer |  |  |
|  | Control of nonconforming testing work |  |  |
|  | Corrective Action & Preventive Action |  |  |
|  | Control of Records |  |  |
|  | Internal audit and Management Review |  |  |
|  | Personnel |  |  |
|  | Accommodation and Environmental Conditions |  |  |
|  | Test methods and method validation |  |  |
|  | Equipment |  |  |
|  | Measurement Traceability and Calibration |  |  |
|  | Sampling and reporting results |  |  |

AQC.QMS.SOP-05 ___________TM________________				                  					 ____________QM___________

9.4 APPENDIX D: SAMPLE AUDIT REPORT

Audit Type:        External                                                                       Internal

Audit Ref :...................................                                                         Date :.....................

Quality function/process audited........................................

Representative.......................................  Auditor ..................................... observer......................................

Audit Report

Attach Audit Checklist & Findings

| Requirement | Activity Compliance (Y/N/Not Applicable) | Comments/Remarks |
| --- | --- | --- |

AQC.QMS.SOP-05/F4

Recommendation(s)

Corrective Action(s)

N/B: note down if the non-conformance(s) are either critical, major or minor

9.5 APPENDIX E: SAMPLE CORRECTIVE ACTION FORM

Category of Non-conformity:	Critical 	                            Major		        Minor

| Date : | Corrective Action Request No. ............................... |
| --- | --- |

Department / Functional Area

Representative:

Name of Auditor:

Repeat Problem: Yes No If yes CAR Ref. number.................................

- Details of Non-conformance (to be completed & signed by Auditor)..........................................................

.............................................................................................................................................................................

Sign

- Corrective Action (To be completed & signed by representative) and Action(s) to Prevent Recurrence (if applicable).

Date for Completion of Corrective Action

Representative’s Sign

- Follow-Up and Close Out (to be completed & signed by Auditor)

Proposed Follow-Up date: ..........................

Follow-Up details (if any)

C.A.R Close Out Date: .................... Auditor’s sign..........................

AQC.SP.SOP-05/F5

9.6 APPENDIX F: MANAGEMENT REVIEW MEETING ATTENADANCE FORM

Date

S No:

| NAME & DESIGNATION | MEETING |  |
| --- | --- | --- |
|  | Start Time: | End Time: |
|  | Opening (Sign) | Closing (Sign) |

AQC.QMS.SOP-05/F6

9.7 APPENDIX G:  – DISTRIBUTION LIST OF CONTROLLED DOCUMENTS

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 02 | QUALITY MANAGER |
| 02 | 02 | TECHNICAL MANAGER |
| 03 | 02 | ACCREDITATION BODY (KENAS) |

-End of document-