CONTINOUS IMPROVEMENT PROCESS PROCEDURE

1.0 	 Purpose:

The purpose of this procedure is to define how Corrective and Preventive Action will be used as a tool of continuous improvement.

2.0		Scope:

The scope of this procedure covers the elements of the Quality Management System, ISO/IEC 17025 in the organisation continuous improvement process.

3.0		References:

- ISO/IEC 17025:2005

- ISO 9001:2015

- ISO 9000

4.0		ABBREVIATIONS/TERMS USED

- The definitions and term used in AQC.QM-001 shall apply.

- The term used in ISO 9000 and ISO 17000 shall apply.

- Corrective Action- Action taken to eliminate a detected nonconformity and prevent it from recurring.

- Preventive Action –Action taken to deter (stop) a potential nonconformity from occurring.

5.0		RECORDS OF CHANGE

| NO. | Date | Details of changes |  | Title/ Name | Signature |
| --- | --- | --- | --- | --- | --- |
|  | (dd-mm-yyyy) | Page | Clause/Sub-clause and comment | By: |  |
| 01 | 30 /06/2021 | All | - Included Tables and Appendices on the Header note. - Changed Version No. from 00 to 01 | QM |  |

6.0		DISTRIBUTION TABLE

The controlled copies of this document are issued in accordance with Appendix C.

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 02 | 01 | QUALITY MANAGER |
| 03 | 01 | TECHNICAL MANAGER |
| 05 | 01 | ACCREDITATION BODY (KENAS) |

7.0		Principal Responsibilities

  - The Quality Manager is responsible for ensuring that this procedure is implemented and followed at all times in the laboratory.

8.0		Procedures

    - Preventive actions are based on potential non-conformities.

    - Potential non-conformities are analysed from data of either of the following but  not limited to: -

- Risk analysis tools e.g. effect and mode analysis, risk mitigation plans etc.

- Review of customer needs.

- Customer supplies meetings.

- Management review output.

- Process measurement.

- Information from interested parties.

- Self-assessment results.

    - Causes of potential non-conformity will be determined and identified through any of the above. Thereafter the issues will be in the departmental meetings.

    - The relevant section head will evaluate the need for action to prevent the occurrence of such non-conformity.

    - The relevant action taken to prevent non-conformity will be determined and agreed upon in the departmental meetings and implemented.

    - Records of such action will be kept and the Preventive Action taken reviewed for effectiveness in the subsequent departmental meetings.

    - Corrective Action shall be done by Quality Manager as per the schedule of Internal Audits and Management Review Plan. The Corrective Action shall be delegated to each functional section for implementation then the QM shall close the action plan.

9.0		APPENDICES

9.1 	Appendix A: Corrective Action investigation form.

9.2 	Appendix B: Preventive Action and Corrective Action form.

9.3		Appendix C: Distribution list of controlled documents.

9.1 APPENDIX A: CORRECTIVE ACTION INVESTIGATION FORM

|  | Type: Customer Supplier Internal | Customer/Supplier: |  |
| --- | --- | --- | --- |
|  | Complaint: | External Contact Name |  |
|  | DEPARTMENT: | External Contact Phone: |  |
|  | Initiated By: | Forward To: (for step 2) |  |
|  | Initiation Date: | Due Date: Pending Due Date: |  |
|  | Respond To Customer? Yes No By Date: Site Visit Required? Yes No |  |  |
| 1 | Define The Problem: | Can the problem affect the outcome of the water analysis? Is it a systemic problem that can re-occur? |  |
| 2 | Team leader: Describe The Problem or non-conformity: | Position : Status: |  |
| 3 | Draft Problem or non-conformity; - | If the problem affects other services, process or is systemic, how were they contained? |  |
| 4 | Root Cause (s) of non-conformity : |  |  |
| 5 | What Actions Corrected The Root Cause? Implementation Date: |  |  |
| 6 | List Data That Verifies Corrective Action:- Initial Disposition: ………………………………… Date: ……………………...... Reason Closure/rejected: ……………………………………………………………………….. ……………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………… Date:-…………………………………. | Was failure modes and effects analysis (FMEA) Reviewed? Yes No |
| 7 | Derail Recurrence of non-conformity.. |
| 8 | Determine Method of Verification:…………………………………………………………………. ……………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….. Date:…………………………………………………… |  | Verification: - ………………………………………………………………….. Reason rejected: - …………………………………………………………… |

AQC.QP3-F16

9.2 APPENDIX B: CORRECTION AND PREVENTIVE ACTION FORM

| Area Audited | Non Conformity | Root Cause | Preventive Action | Corrective Action | Date of Completion | Responsible Person(s) | Status on Due Date | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

AQC.QP3-F17

9.3 APPENDIX C:  – DISTRIBUTION LIST OF CONTROLLED DOCUMENTS

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 01 | QUALITY MANAGER |
| 02 | 01 | TECHNICAL MANAGER |
| 03 | 01 | ACCREDITATION BODY (KENAS) |

-End of document-