PURCHASING AND SUPPLY SERVICES PROCEDURE

1.0 	 Purpose:

The purpose of this procedure is to ensure orderly, efficient and economical purchase of equipment, services and consumable materials. Purchasing systems are a key component of effective inventory management in that they monitor existing stock and help AQC determine what to buy, how much to buy and when to buy it.

2.0 	 Policy:

The laboratory will ensure that purchased supplies and reagents and consumable materials that affect the quality of water testing services are not used until they have been inspected or otherwise verified as complying with the requirements defined in the Tests Method concerned. The overall responsibility for the inspection of equipment and reagents in the laboratory is taken by Technical Manager.

3.0	Scope:

2.1. This procedure covers the purchase, receiving, inspection/verification, requisitioning and storage of supplies including of new equipment, and consumable materials, and purchase of services. It does not cover procurement of general stationery.

4.0 References:

ISO/IEC 17025:2005

ISO 9001:2015

AQC.QM-001

AQC.QMS.SOP-02

5.0 ABBREVIATIONS/TERM USED:

The definitions for AQC.QM-001 shall apply.

6.0 RECORDS OF CHANGE

| NO. | Date | Details of changes |  | Title/ Name | Signature |
| --- | --- | --- | --- | --- | --- |
|  | (dd-mm-yyyy) | Page | Clause/Sub-clause and comment | By: |  |
| 01 | 30/06/2021 | All | • Included Tables and Appendices on the Header note. • Changed Version No. from 00 to 01 | QM |  |
| 02 | 30 /06/2021 | All All All All 8 | • Changed pages from 05 to 08. • Changed Version No. from 01 to 02 - Added appendix D - Changed Appendices from 3 to 4 - Edited Clause 9.0 | QM |  |

7.0 DISTRIBUTION TABLE

The controlled copies of this document are issued in accordance with appendix B.

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 02 | QUALITY MANAGER |
| 02 | 02 | TECHNICAL MANAGER |
| 03 | 02 | ACCREDITATION BODY (KENAS) |

8.0	Principal Responsibilities

8.1     The laboratory staff member making the order is responsible for ensuring that all the necessary specifications, for the item required, are filled accurately in the requisition form.

8.2	The laboratory staff has the responsibility of following this documented procedure in inspecting and verifying the supplies/services required.

8.3	The analyst has the responsibility of ensuring that the items ordered are of the right specifications and the quantities required.

9.0	Procedures

9.1      Consumable materials and equipment requisition and purchase

9.1.1	The officer requiring the consumable material/equipment shall complete the requisition form (Appendix A). Particular attention to detail is required  when giving the item description and supplies requested ,and may include but are not limited to ,type, class, grade, precise identification ,specification ,drawings ,inspection instruction ,or other technical data and where applicable indicative prices.

9.1.2	The officer then forwards the requisition to the Technical Manager for checking and for approval. After which, the form shall be presented to the Human Resource Manager for issue or purchase.

9.1.3	The Quality Manager shall nominate personnel to carry out technical evaluation. The nominated personnel shall do the evaluation and send their report to the Technical Manager for acceptance. The evaluation records of the supplier and equipment shall be maintained as applicable.

9.1.4	Suppliers of critical services are evaluated and approved before use. An approved supplier list is maintained.

9.1.5	Audits or tender evaluation is conducted to qualify suppliers of critical services prior to use. The criteria for evaluation may include, but is not limited to the following:

  - References

  - Accreditation

  - Formal recognition

The records are maintained by the Office Administrator.

9.2	Equipment (New and accessories/spare parts)

9.2.1	The analyst shall review any new equipment requirements and determine purchase priorities for the laboratory and present it to the Management Review Meeting as defined in the relevant Operating Procedure. The TM will in his capacity direct and confirm during the meeting the need to acquire the new instrument. If agreed upon, the analyst shall then place a requisition for the equipment to be purchased and follow clause 8.1.1 above of this procedure in giving the equipment specifications.

NOTE: This description shall include any technical manuals, service/operating manuals, maintenance manuals, any installation requirements, user training, calibration certificates or any certification as necessary.

9.2.2 Subsequently, the purchase of the required items shall be done according to clauses 8.1.1 to 8.1.3 above.

9.3 Purchase of Service

9.3.1	The analyst or their deputy for the laboratory requiring the service shall write a memo through Quality Manager (in the case of repairs/maintenance) to Technical Manager and follow procedure to the purchasing section. Particular attention or detail is required especially when giving the service description, and shall include contact of possible service providers and may include but not limited to, type, specification, or other technical data including approval of service rendered, and attach any relevant documentation in support of the service

9.3.2	Once the service is approved, the Technical Manager will make necessary arrangements for it to be done, be it contact providers or have it done internally.

9.4	Verification of Purchased items

9.4.1	When the equipment/consumable materials are delivered, the analyst or appointed officer shall notify the Technical Manager by filling the inspection form shown in Appendix B.

9.4.2	The items shall then be verified or inspected by the user and supplier. Such inspection shall include verification of the items delivered against the initial requisition specifications and as a minimum include the parameters.

9.4.3	Details of such inspection shall be filled out in the inspection form in Appendix B.

9.4.4	If the item is found to meet the requirements of the user, the item shall be accepted and indicated as such in the inspection report. Records of this shall be maintained as applicable.

9.4.5 	The Technical Manager shall accept and sign the receipt of the item and the Inspection report.

9.4.6	If the item is not acceptable, analyst shall notify the supplier who shall collect the items.

9.5	Stock Replenishing

9.5.1	When consumables stock level goes down the analyst shall alert the Technical Manager who shall approve the amounts to be purchased and the set requisition procedure be followed.

9.6	Evaluation of suppliers

9.6.1	AQC has a mechanism in place to evaluate the suppliers according to the previous experiences on the timeline and quality of goods and services. A list of approved suppliers is also available.

9.6.2	The evaluation for key laboratory consumables suppliers at AQC will be considered into two aspects i.e. product certification and suppliers audit which will further capture issues such as: legal operation of the suppliers, safety in production, process management, and quality control, the labour and social security, research and development capabilities, and after-sales service. This will be achieved by asking the respective suppliers to fill the vendor/supplier evaluation form as attached in the appendix.

9.6.3	Approval will only be given for one year in the first instance. The performance of approved suppliers will be carefully monitored. Suppliers who fail to meet prescribed standards will be removed from the approved list.    Conversely those who consistently meet or exceed the prescribed standards over a period of time, may be upgraded from   ‘Approved’ to ‘Preferred’ suppliers.

10.0	APPENDICES

10.1 Appendix A:		Purchase requisition Form (instrument/chemicals/service/etc.)

10.2 Appendix B:		Laboratory Supply Inspection Form

10.3 Appendix C:		Distribution list of controlled documents

10.4 Appendix D:		Vendor/Supplier Evaluation Form

10.1 APPENDIX A: REQUISITION FORM/ISSUE VOUCHER

| S/N | ITEM DESCRIPTION |  | Model | Make |  | Provider |  | Purpose | QTY | Indicative Unit Cost | Ext. Cost |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | VAT |  |  |  |  |  |  |  |  |  |
|  |  | TOTAL |  |  |  |  |  |  |  |  |  |
|  | REQUESTED BY |  |  |  |  |  |  |  |  |  |  |
|  | NAME: |  |  |  |  |  |  |  |  |  |  |
|  | POSITION: |  |  |  |  |  |  |  |  |  |  |
|  | DATE: |  |  |  |  |  |  |  |  |  |  |
|  | APPROVED BY |  |  |  |  |  |  |  |  |  |  |
|  | NAME: |  |  |  |  |  |  |  |  |  |  |
|  | POSITION: |  |  |  |  |  |  |  |  |  |  |
|  | DATE: |  |  |  |  |  |  |  |  |  |  |

AQC.QP1-F1

10.2 APPENDIX B: - LABORATORY SUPPLY INSPECTION FORM

| LABORATORY CHEMICALS AND REAGENTS DATA FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description | Product No. | Lot/Batch No | Qty | Exp Date | Test Purpose | Remarks |
| REQUESTED BY | APPROVED BY |  |  |  |  |  |
| NAME: | NAME: |  |  |  |  |  |
| POSITION : | POSITION: |  |  |  |  |  |
| DATE: | DATE: |  |  |  |  |  |

AQC.QP1-F3

10.3 APPENDIX C:  – DISTRIBUTION LIST OF CONTROLLED DOCUMENTS

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 02 | QUALITY MANAGER |
| 02 | 02 | TECHNICAL MANAGER |
| 03 | 02 | ACCREDITATION BODY (KENAS) |

10.4 APPENDIX D:  – VENDOR/SUPPLIER EVALUATION FORM

| Sn/ | Item | Comments |
| --- | --- | --- |
|  | Company Details: | Registered Company Name:________________________________ Phone Numbers:_________________________________________ E-Mail Address:__________________________________________ Website:_______________________________________________ Name of Supplier Representative:____________________________ Designation:______________________________________________ Telephone:_______________________________________________ E-mail:__________________________________________________ |
|  | Year of Registration: |  |
|  | Certificate of Incorporation: | Attach copy |
|  | KRA PIN Certificate: | Attach copy |
|  | Business Permit/ Licence: | Attach copy |
|  | Certification: | ISO Certified: Attach Certification Certificate No Yes Others please specify: |
|  | Please indicate if your company is either: | Tick where appropriate: Contractor Manufacture Agent |
|  | Area of specialization | Please tick where appropriate: Reagents Equipment Service |
|  | Experience of Supplier in Related Field | ___________________________________ years |
|  | Does your company offer after sale service: | Tick where appropriate: No Yes Location of Local Service Centre:_____________________________ |
|  | Health and Safety: | Does your company have a policy on health and safety? No Yes Do you carry out health and safety risk assessments? Yes No |
|  | Credit period: | Please indicate the credit period:_________________________ |
|  | FOR OFFICIAL USE ONLY: |  |
| Evaluation done by: i. Technical Manager: Name ___________________________________ Signature _________________ ii. Quality Manager: Name ____________________________________ Signature _________________ |  |  |
| Approved as Supplier by: General Manager: Name ________________________________________ Signature _______________ Dated ______________________ |  |  |
| Instructions: 1.This evaluation form is to be used to approve suppliers in compliance with Quality Management System. 2.The evaluation team may consist of any or all of General Manager, Technical Manager and Quality Manager depending upon the nature of material/ service to be procured. 3. Once approved by the management, the supplier/ vendor should be included in approved list of suppliers as required to be maintained under Quality Management System. 4. A complete check is to be performed each year at the beginning of each calendar year. 5. Copies of evaluation and approval would remain available with General Manager, Quality Manager and Accounts department. However, permanent record shall be kept by the Quality Manager. |  |  |

AQC.QP1-F4

-End of document-