QUALITY ASSURANCE SYSTEM PROCEDURE

1.0 	 Purpose

- To define the sequence of activities to be performed after receipt of samples in the laboratory and dissemination of the results. These include sample handling, administration of test work and issuance of the laboratory test report.

2.0	Scope

- This procedure covers all samples received in the laboratories from receipt of sample item in the laboratory to submission of laboratory test report.

3.0   References:

AQC.QM-001

ISO/IEC 17025:2005

IS0/IEC 17000

4.0   ABBREVIATIONS/TERMS USED:

- For the purpose of this procedure, the definitions in AQC.QM-001 and ISO 17000 shall apply.

- TM: Technical Manager

- QM: Quality Manger

- LTR: Laboratory Test Report

- SRC: Sample Registration Centre

5.0   RECORDS OF CHANGE

| NO. | Date | Details of changes |  | Title/ Name | Signature |
| --- | --- | --- | --- | --- | --- |
|  | (dd-mm-yyyy) | Page | Clause/Sub-clause and comment | By: |  |
| 01 | 28/07/2021 | All | • Included Tables and Appendices on the footer note • Changed Version No. from 00 to 01 | QM |  |

6.0   DISTRIBUTION TABLE

The controlled copies of this document are issued in accordance with appendix D.

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 01 | QUALITY MANAGER |
| 02 | 01 | TECHNICAL MANAGER |
| 03 | 01 | ACCREDITATION BODY (KENAS) |

- Principal Responsibilities

  - The QM is responsible for receiving, handling and administration of test work and issuance of laboratory test report in the respective laboratories.

  - The TM and the QM are responsible for the final transmission of the laboratory test report to customers.

  - The QM and TM authorize all the test reports or certificates by signing, and maintain a copy of the dispatched results for future references.

8.0	Procedures

8.1      Sample receipt and handling of samples in the laboratory

8.1.1	All samples to be tested in the laboratories shall be received by the respective analyst/technician or assigned officers.

8.1.2	The receiving officer shall verify the sample details and ensure that they correspond to the information in the sample register form.

8.1.3	The receiving officer shall subsequently enter the sample details in the laboratory sample register and then file the sample register from in the appropriate file and the sample kept accordingly.

8.2	Storage of samples in the laboratory

8.2.1	The samples shall be stored appropriately as defined by the laboratory. Samples shall be stored in such a way as to ensure integrity, security and to minimize hazards to laboratory staff i.e. if the sample cannot be tested immediately then it is put in the refrigerator. Otherwise it is taken to the appropriate laboratory for further storage and analysis.

    - The laboratory storage areas shall be kept clean, secure and well organized, so that there is no risk of contamination or cross-contamination and to ensure the integrity of the sample is preserved.

    - The storage area shall be identified as: “sample storage area”. In addition the laboratory may further identify the samples according to sample type.

8.3	Administration of tests

8.3.1	The TM shall assign sample to the respective analyst within 24Hrs of receipt or as specified in the specific laboratory procedure or work instruction.

8.3.2	Samples shall be assigned to analyst according to the capability of each officer.

8.3.3 	Analyst   assigned any samples shall be responsible for the handling, preparation and testing of the sample(s). They shall ensure safe storage in a manner to protect them from loss, deterioration, damage or destruction before testing as specified in instructions provided with the sample or in procedures within each laboratory.

8.3.4	The officer testing shall log in the sample register the actual date when testing begun and shall test the sample in accordance with the appropriate test method. Additionally, the officer handling or preparing the sample for test shall ensure that the sample identity is maintained at all times. Sampling and sample preparation shall be done according to procedure.

8.3.5	Each officer shall maintain a workbook. Each entry in the workbook shall be completed using a ballpoint pen with ink that is not affected by water. Mistakes are crossed out with a single line, and the record signed and dated. Additionally, for each sample and/or parameter entries to the workbook shall include;

8.3.5.1   Date of test, analysed, and sample details (the sample identity and type), test observations, all rough calculations, any instrument used, relevant calibration data and results of each test.

8.3.5.2   Where calculations are performed and stored entirely on a computer spreadsheet or within the computer management system the workbooks shall indicate the location of such calculations.

8.3.5.3   In cases where the results are in graphs or computer printout such data shall be signed and dated then filed appropriately and the location indicated in the work book.

8.3.5.4   All workbooks shall be kept within the laboratory and associated rooms. No workbook shall be taken outside the laboratory except for site testing only.

8.3.5.5   When using laboratory information system (LIMS), the testing personnel shall have permission to view, enter and to validate data. The testing officer enters the results required as soon it obtained.

8.3.5.6	Results of any test shall not be disclosed or discussed with any persons other than the laboratory personnel.

8.4	Preparation of Laboratory Test Report (LTR)

8.4.1	Draft LTR

8.4.1.1 After completion of test work, the officer carrying out the test shall transfer the test results from the workbook to a draft LTR. The draft LTR shall be completed as indicated in the form including the following:

  - Description of Sample: borehole, well, spring, treated, effluent

  - Date of Sampling: dd/mm/yy

  - Sampling Location: abc county

  - Date Sample Received: dd/mm/yy

  - Submitted By: Mr. QZC

  - Date of Report Issue: dd/mm/yy

  - Customer Details: telephone, email

  - Sample ID: QT/abc…/2021

  - Tests/parameters and results with units of measurement

  - The test methods used

  - Uncertainty of measurement where applicable

  - Anomalies or deviations noted on receipt, during testing or any deviations from test methods and specific tests conditions such as environmental conditions/specifications noted in the “Remarks’ section”

8.4.1.2	The analyst shall then assess and verify the draft LTR and if necessary make comments on it, then forward to the TM.

8.5	Final LTR

Once the draft LTR is ready a Final LTR will be prepared by typing all the information contained in the draft LTR and if the draft contains results for KENAS/NEMA accredited test then a KENAS/NEMA LTR will be typed that meets the conditions of use of the KENAS/NEMA logo as stated in clause 9.5.1, 9.5.2 below.

8.5.1 The use of KENAS/NEMA logo or reference to KENAS/NEMA accreditation on a LTR shall be strictly controlled by the analyst in accordance with the requirements and conditions stated in the KENAS document.

8.5.2 The following conditions shall be strictly followed:

a) The “KENAS/NEMA-accredited” logo shall be displayed on all LTR, which contain exclusively results from tests that have been carried out within the scope of accreditation of the laboratory concerned.

b) Accredited test results reported on LTR bearing a KENAS/NEMA logo are identified as accredited by an asterisk (*) and after such a result, along with a footnote stating: “This test is covered by our current KENAS/NEMA accreditation”.

c) The KENAS/NEMA conditions of issue shall be stated as define in clause 9.5.3 below.

8.5.3 The logo shall be displayed only in the front sheet of the LTR and shall be in the appropriate form, size and in as single colour.

8.6     Transmission of results

8.6.1.   The LTR shall be collected or forwarded to the customer as follows:

8.6.1.1 The TM shall verify and forward it to the head of SRC where the LTR is kept securely until the customer collects it. The LTR may be posted only if the customer had paid fully and in which case the Office Administrator must ensure that the address on the envelope is the same as that on the register.

8.6.1.2 The LTR may also be transmitted electronically when the customer requests and in which case the Office Administrator shall record the details of the recipient, the recipient’s name and authorization.

8.7 Conditions of issue of LTR

8.7.1 A LTR shall not be reproduced in any form other than in full, or without the written approval of the TM.

8.8 Records

8.8.1 Records of any amendments to test reports shall be filed by the TM and analyst together with the test report that they amend.

8.8.2 All draft LTR shall be filed in accordance with the laboratory defined instructions.

8.9   Disposal of Tested samples

All tested samples shall be disposed as prescribed in the laboratory manuals and work instructions.

9.0	APPENDIX:

9.1 Appendix A: Laboratory samples registration form

9.2 Appendix B: Internal sample subcontracting form

9.3 Appendix C: Draft Laboratory Test Report

9.4 Appendix D: Distribution list of controlled documents.

9.1 APPENDIX A: LABORATORY SAMPLES REGISTER FORM/ SAMPLES RECEIVING FORM

| LPO –Order no. |  | Customer Name & Address |  |
| --- | --- | --- | --- |
| Sampling Date |  | Sample Description |  |
| Date Submitted |  | Test |  |
| Expected Service Time |  | Payment |  |
| Contact Person |  | Customer Details |  |
| Email |  | Official use Only |  |

AQC.QP1-F2

9.2 APPENDIX B: INTERNAL SAMPLE SUBCONTRACTING FORM

| S/No. | Sample ID | Sample Description | Test Required |  |  |
| --- | --- | --- | --- | --- | --- |
| Submitted By |  |  |  | SIGN |  |
| Received By |  |  |  | SIGN |  |
| Contracting Laboratory |  |  |  | DATE |  |

AQC.QP1-F5

9.3 APPENDIX C: - SAMPLE DRAFT LABORATORY TEST REPORT

TEST REPORT

SAMPLE DESCRIPTION:    BOREHOLE WATEr					SAMPLing date: 	  	   08/07/2021

SUBMITTED BY:	          XYZ	                          					received ON:		   16/07/2021

cLIENT NAME:                   BCD							ANALYSIS DATE:		   17/07/2021

SAMPLED BY:   	          ABC							REPORT ISSUED ON:         	   19/07/2021

sampling LOCATION:    kakamega county					sample LAB id:		QT/123/2021

physio-chemical test

| TEST | METHOD | RESULTS | KS EAS 12:2018 Natural Potable Water Limit | L.O.D | REMARKS |
| --- | --- | --- | --- | --- | --- |
| PHYSICAL TESTS |  |  |  |  |  |
| pH | Direct Method | 7.2 | 5.5-9.5 | 1 | COMPLIANT |
| Color (Pt.Co.APHA) | Hach Method: 8025 | 93 | 50 | 0 | NON-COMPLIANT |
| Turbidity(NTU) | Hach Method: 8196 | 14 | 25 | 0 | COMPLIANT |
| Total Suspended Solids mg/L | Hach method : 8006 | 11 | ND | 0 | NON-COMPLIANT |
| Total Disolved Solids mg/L | Direct Method | 128 | 1500 | 0.01 | COMPLIANT |
| Conductivity µS/cm | Direct Method | 256 | 2500 | 0.01 | COMPLIANT |
| CHEMICAL TESTS |  |  |  |  |  |
| Fluoride as F mg/L | SPADNS Method: 8029 | 0.08 | 1.5 | 0 | COMPLIANT |
| Total Iron as Fe mg/L | Ferrover method:8008 | 0.8 | 0.3 | 0 | NON-COMPLIANT |
| Sodium as Na+ mg/L | ISE Method | 24 | 200 | 0.02 | COMPLIANT |
| Nitrate as NO3- mg/L | Cadmium reduction:8039 | ND | 45 | 0 | COMPLIANT |
| Nitrite as NO2- mg/L | Diazotization Method: 8507 | 0.07 | 0.9 | 0 | COMPLIANT |
| Ammonia as NH3-N mg/L | Salicylate Method:8155 | ND | 0.5 | 0 | COMPLIANT |
| Copper as Cu2+ | Bicinchoninate Method:8506 | 0.03 | 1.0 | 0 | COMPLIANT |
| Zinc as Zn mg/L | Zincon Method:8009 | 0.01 | 5 | 0 | COMPLAINT |
| Free Residual Chlorine mg/L | DPD Method:8021 | 0.2 | Absent | 0 | NON-COMPLIANT |
| Calcium as Ca mg/L | APHA method: 3500 - Ca B | 47.2 | 150 | 2 | COMPLIANT |
| Magnesium as Mg mg/L | APHA method: 3500 - Mg B | 7.8 | 100 | 1 | COMPLIANT |
| OTHER PARAMETRS |  |  |  |  |  |
| Calcium hardness as CaCo3 mg/L | APHA method: 3500 - Ca B | 118 | NS | 5 | - |
| Magnesium hardness as CaCo3 mg/L | APHA method: 3500 - Mg B | 32 | NS | 5 | - |
| Total Hardness as CaCo3 mg/L | APHA method: 2340 C | 150 | 600 | 5 | COMPLIANT |
| Silica as SiO2 mg/L | Sylicomolybdate method :8185 | 45.3 | NS | 0 | - |

ns:No Set Standard,ND: Not Detectable, ks:Kenya Standard, eas: East African Standard ,l.o.d: Limit Of Detection, ND:Not Detected. USEPA: United States Environmental Protection Agency, APHA: American Public Health Association. KS: Kenya standard

Parameters labeled with(*) are subcontracted (<)Less than.

This results only apply to the sample submitted and the recomendations/comments are only based on the tested parameters,the test report shall not be reproduced without written approval of Aquacheck laboratories ltd.

COMMENTS.

The sample submitted to the laboratory was found not to conform to KS 12:2018 specifications for natural potable water. The levels of Color,Total suspended solids, Iron and Free chlorine are above the set maximum limit.Treatment is therefore advised.

MR.ABC											 DR.XYZ

Water Chemist									                  Lab analyst

9.4 APPENDIX D:  – DISTRIBUTION LIST OF CONTROLLED DOCUMENTS

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 01 | QUALITY MANAGER |
| 02 | 01 | TECHNICAL MANAGER |
| 03 | 01 | ACCREDITATION BODY (KENAS) |

-End of document-