STAFF TRAINING AND DEVELOPMENT PROCEDURE.

1.0 	 Purpose

The purpose of this procedure is to ensure that all personnel have the sufficient skills and capacity to undertake the tasks assigned.

2.0	Scope

2.1 This procedure covers induction training in the company policy and procedures, on the job training/in-house training, identification of training needs, evaluation of staff competence, the training interface with corporate training procedures and specific qualification requirements and how they are reviewed and maintained.

3.0    REFERENCES

3.1      AQC.QM-001

3.2      AQC-QMS.SOP-02

3.3      ISO/IEC 17025 Clause 5.2

3.4      ISO 9001:2015, Quality Management systems- Requirements

4.0    ABBREVIATIONS/TERMS USED

No terminologies apply.

5.0 RECORDS OF CHANGE

| VERSION.NO. | Date | Details of changes |  | Authorization/ Name | Signature |
| --- | --- | --- | --- | --- | --- |
|  | (dd-mm-yyyy) | Page | Clause/Sub-clause and comment |  |  |
| 01 | 30/03/2018 | All | • Included Tables and Appendices on the footer note • Changed Version No. from 00 to 01 | QM |  |

6.0    DISTRIBUTION TABLE

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 02 | 01 | QUALITY MANAGER |
| 03 | 01 | TECHNICAL MANAGER |
| 05 | 01 | ACCREDITATION BODY (KENAS) |

7.0	Responsibilities

7.1	 Technical Manager and the quality manager are responsible for the recruitment process of qualified personnel and maintaining records of all the staff.

7.2	The Technical Manager is responsible for maintaining staff training records, in-house training of staff (including induction of new staff) and certifying of staff as competent. The HOL shall also carry out evaluation of staff competence and identification of staff training needs within their laboratories/departments.

7.3	The Technical Manager is responsible for planning, organizing and evaluating internal training conducted by the company and arranging and coordinating external training for laboratory staff especially in areas that require staff to hold personnel certification.

7.4	    The members of staff are responsible for ensuring that they undergo and complete the training       provided whenever they are nominated for any training.

8.0	Method/procedures

New Staff and Induction Training

    - The Quality Manager shall provide technical Manager with a job specification for vacancies, which require hiring of personnel. They together shall evaluate the information, and decide the next course of action whether to approve or dismiss.

The job specification shall include:

a) Position title:

b) Level;

c) Expertise and experience requirement;

d) Qualification and training programs;

e) Responsibilities with respect to performing tests, evaluating of results.

f) Duties.

    - All new company staff shall attend an induction program in order to provide an understanding of the functions and operations of various Laboratories sections.

    - On assignment to the laboratory, all new or existing staff during change of job/role/function will follow an induction programme in accordance with the Code of ethics and this procedure.

    - The Technical Manager or nominated deputy, shall provide this initial training on testing policies, appropriate procedures, health and safety in the laboratory, scope of work and staff training.  Records will be opened for the new staff and retained in a file by the Technical Manager.

    - On completion, such training will be indicated in the staff training records and the staff member's name added to the laboratory skills matrix (refer to appendix B).

  - ON-THE-JOB TRAINING (OJT)

    - All laboratory staff shall undergo OJT as in-house training, refresher/retraining or competence training. The TM shall organize/ plan and arrange for such training and shall include the competence and re-training of staff to carry out specified tasks, use standards specification, perform specific tests, sampling methods, test methods or using such equipment for all staff in his/her laboratory.

    - The Technical Manager shall issue the new staff member with a workbook to be used and appoint a supervisor for each training activity or set of activities to be undertaken.

    - Such training shall be in the form of analysis of appropriate reference materials, spiked samples, retained samples, duplicate analysis or attachment of staff to competent staff or staff assigned work under supervision of a trained, authorized staff.

    - The trainee shall record all their work in the workbook provided and sign against each test or training activity undertaken. The supervisor shall similarly sign in the workbook against the test or activity undertaken by the trainee that they have supervised and indicate successful or unsuccessful completion. The trainee and the supervisor sign the workbook on completion of the training activity. If any training activity takes more than one day to complete, the signing shall be done against the part of the activity done each day.

    - Refresher training or re-training shall be documented in the appropriate staff training record and authorized by the technical Manager.

    - The Quality Manager shall develop criteria for achieving staff competence and document with the laboratory quality system.

    - The technical Manager shall also arrange/plan for training of staff through outside courses, or college courses.

    - Once a staff member is deemed to be competent to perform his/her tasks/duties, the Technical Manager shall authorize, by initialling/signing and entering the date and the appropriate activity on the laboratory staff training records (see appendix A) and indicating as such in the laboratory skills matrix (see appendix B).

    - The laboratory skills matrices shall be maintained in each laboratory and posted in laboratory notice boards.

    - Up-to-date evidence of training shall be kept and referenced in the staff training records and updated by the Technical manager.

  - ESTABLISHING/IDENTIFICATION OF TRAINING NEEDS

    - The Technical Manager shall determine whether a new staff member or existing members require more training or re-training by comparing their qualifications and training with their capabilities.

    - The Technical Manager shall determine the training needs of staff by keeping up with technological developments and recommend further training compatible with laboratory needs.

    - If any staff member has been absent from the laboratory for more than nine months or has been performing unsatisfactorily or has exhibited performance of test outside acceptable limits through results of internal quality assurance schemes or external quality assurance programmes, the Technical Manager shall authorize refresher retraining before the staff member can undertake any testing work.

    - Each year the Technical Manager shall prepare an annual plan identifying the required training, collate these plans and seek the approval of the Quality Manager for implementation.

    - A review of staff competence, training needs assessment, re-training shall be discussed in Management Review Meetings.

    - If corporate or external training requirements are identified, Personnel shall be notified by memorandum from the Quality Manager, authorized by the Technical Manager.

    - An annual training programme drawn up by the Quality Manager in accordance with the procedure will provide the necessary external training.

    - Evaluation of the effectiveness of the external training provided shall be carried out by the Quality Manager.

  - EVALUATION OF STAFF COMPETENCE AND PERFORMANCE APPRAISAL

      - The Technical Manager shall supervise and monitor the competence and outputs of staff members through internal quality assurance schemes and external quality assurance programs and this shall be documented where appropriate.

      - The Technical Manager shall develop and define the initial and regular competence assessment for all staff. This would involve attachment of new staff to competent staff, use of Reference materials, QC charts monitoring, blind sample analysis, etc. and an acceptance criterion for each method or test defined.

      - Staff shall initially demonstrate their competency prior to working on customers' samples and records kept in the staff training record book.

      - An annual performance appraisal is conducted on all staff and management by the personnel from Technical department or by their immediate supervisor in accordance with Technical Management procedures or as appropriated by QM.

      - The Quality Manager shall carry out the appraisal as documented in the Staff training records. In addition staff shall be re-verified for competence against all tests in which the staff member has been passed to be competent as reflected in the staff skills matrix. The re-verification shall be through use of internal QC checks and data obtained from participation in Proficiency Testing. Where there is unsatisfactory performance, the staff member shall be retrained and performance monitored until satisfactory performance is attained. This shall be documented in the staff training record book.

  - RECORDS

      - Records pertaining to training provided within each laboratory/section and specific tests equipment that personnel have competence in, shall be maintained by Technical Manager in the form of staff training records and laboratory staff skills matrix.

      - The Human Resources Manager will keep records of training programs, cross-function training, external and in-house training that they arrange.

9.0	APPENDIX

9.1 Appendix A:	Staff training records

9.2 Appendix B:	Laboratory skills matrix

9.3 Appendix C:	Staff training attendance checklist

9.4 Appendix D: 	Distribution list of controlled documents

9.1 APPENDIX A: STAFF TRAINING RECORDS

| SNO | TRAINING COURSE | TIME START | TIME CLOSE | TRAINEE | TRAINER |
| --- | --- | --- | --- | --- | --- |

AQC.QP5-F25

9.2 APPENDIX B- IN-HOUSE TRAINNING

| NAME: |  |  |
| --- | --- | --- |

IN-HOUSE TRAINING

| Date(s) | Course | Duration | Trainee |  |  | Trainer |  | Evidence | Authorization as competent |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Sign | Date |  | Sign | Date |  | Sign | Date |

AQC.QP5-F26

9.4 APPENDIX D:  – DISTRIBUTION LIST OF CONTROLLED DOCUMENTS

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 01 | QUALITY MANAGER |
| 02 | 01 | TECHNICAL MANAGER |
| 03 | 01 | ACCREDITATION BODY (KENAS) |

-End of document-