SUBCONTRACTING OF TESTS PROCEDURE

1.0 	 Purpose:

When a laboratory subcontracts work, either because of unforeseen reasons (e.g., workload, need for further expertise or temporary incapacity) or on a continuous basis (e.g., through permanent subcontracting), this work should be placed with a competent subcontractor. This SOP guides AQC’s staff through the assessment process.

2.0	Scope:

2.1. This procedure covers the subcontracting work for water testing services. It does not cover subcontracting of calibration services.

3.0 References:

ISO/IEC 17025:2005

AQC.Q-001

4.0 ABBREVIATIONS/TERM USED:

The definitions for AQC.QM-001 shall apply.

5.0 RECORDS OF CHANGE

| NO. | Date | Details of changes |  | Title/ Name | Signature |
| --- | --- | --- | --- | --- | --- |
|  | (dd-mm-yyyy) | Page | Clause/Sub-clause and comment | By: |  |

6.0 DISTRIBUTION TABLE

The controlled copies of this document are issued in accordance with appendix B.

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 00 | QUALITY MANAGER |
| 02 | 00 | TECHNICAL MANAGER |
| 03 | 00 | ACCREDITATION BODY (KENAS) |

7.	RESPONSIBILITIES

7.1. 	Quality Manager

7.1.1. Assists the General Manager on quality system related questions.

7.1.2. Leads the process to audit the subcontractor, if necessary.

7.2. 	Technical Manager

7.2.1. Defines the need for subcontracting.

7.2.2. Defines a process owner for subcontracting.

7.2.3. Provides resources to assist the project owner on technical questions.

7.3. 	Head of Laboratory

7.3.1. Assists on technical questions.

7.3.2. Randomly review work done by the subcontractor for technical quality.

7.4	Frequency of use for this document

7.4.1. Before subcontracting work.

8.0	PROCEDURE

8.1. Subcontracting Initiation

8.1.1. The laboratory gets a request from the client to perform a specific work, e.g., specific type and number of tests.

8.1.2. The Head of Laboratory decides that the work cannot be performed because of limited resources, either technical or personnel.

8.1.3. The Head of Laboratory then determines a suitable laboratory for possible subcontracting.

8.1.4. The Technical Manager describes the work to be subcontracted such that a decision can be made to go ahead and subcontract or reject the work.

The description includes:

- Type and number of samples.

- Technical requirements.

- Rough return on investment.

8.1.5. Management makes a decision to subcontract the work based on business opportunity and resources.

8.1.6. The Quality Manager informs the client about the proposal to subcontract the work.

8.2. Identification of the Subcontractor

8.2.1. The Quality Manager makes a proposal for the selection of the subcontractor, preferably from a list of authorized subcontractors.

8.2.2. If there is no authorized subcontractor for the work the proposal is based on the reputation of the subcontractor, anticipated technical competence and accreditation status, e.g., ISO/IEC 17025.

8.2.3. The Quality manager calls a meeting with the top management and makes a final decision on the priority list.

8.2.4. If the laboratory is not an authorized subcontractor, the QM leads the process for assessment as below;

Assessment criteria are:

- Implemented quality system.

- Technical competence.

- Financial competitiveness.

The company that first meets the assessment criteria will be selected as subcontractor.

8.2.5. The Quality Manager informs affected parties within the company about the selection process, the justification and the final decision on the contractor.

8.3. Definition and Agreement of the Work

8.3.1. The Quality Manager describes the work in detail, e.g.

- Responsibilities of the subcontractor.

- Equipment.

- Test procedures.

- Quality control procedures.

- Regulatory requirements.

- Acceptance criteria.

- Deliverables.

- Suggested time schedule.

- Price expectations.

8.3.2. The subcontractor evaluates and agrees or disagrees with the proposal.

8.3.3. If necessary, the Quality Manager arranges for a meeting with the subcontractor representative to agree on open issues including pricing and timing.

8.3.4. The subcontractor confirms in writing that the company;

- Clearly understands the requirements as described in 8.3.1 and agreed in 8.3.3.

- Has the expertise and resources to perform the work in the time frame.

8.4. Conduct of Work

8.4.1. The Technical Manager arranges for shipment of the test samples.

8.4.2. The subcontractor performs the work and sends the results to the Technical Manager.

8.4.3. The Technical Manager compares the results and other deliverables with the description in 8.3.1.

8.4.4. The Technical Manager summarizes the work, the findings and the recommendations to improve future projects, if necessary.

8.4.5. The Technical Manager presents the results to the client.

9.0	APPENDICES

9.1 Appendix A:		Distribution list of controlled documents

9.1 APPENDIX D:  – 	DISTRIBUTION LIST OF CONTROLLED DOCUMENTS

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 01 | 00 | QUALITY MANAGER |
| 02 | 00 | TECHNICAL MANAGER |
| 03 | 00 | ACCREDITATION BODY (KENAS) |

-End of document-