Chain of Custody (CoC)

1.0 	 Purpose

The purpose of this standard operating procedure (SOP) is to provide guidance on the processes used to continuously track the chain of custody (COC) for samples collected or processed and stored at Aquacheck laboratories ltd. This SOP will establish COC procedures and control what actions and materials are tracked for each sample within the project workflow.

2.0	Scope

2.1 The COC is defined as the documentation of the chronological movement of samples from the time of collection through shipment, receipt, possession, handling, processing, analysis and final storage. In addition, the COC is also documentation for the return shipment of samples as requested by the client.

3.0    ABBREVIATIONS/TERMS USED

C.O.C- Chain of Custody

4.0    RESPONSIBILITY

It is the responsibility of all staffs to ensure that all the Samples COC’s are documented appropriately.

4.0    DISTRIBUTION TABLE

| DOC. COPY NO. | DOC. VERSION |  |
| --- | --- | --- |
| 02 | 01 | QUALITY MANAGER |
| 03 | 01 | TECHNICAL MANAGER |
| 05 | 01 | NEMA |

5.0	Method/procedures

5.1	Sample collection

The sample must be collected under the conditions detailed per the specified sample collection procedure.

5.2       Sample Handling

It is imperative that the samples are properly handled as specified in all Test related SOPs. This is to maintain sample identification and ensure that there is no contamination during collection.

5.3       Sample Labelling

The Sample labeling or proper marking of samples should be done accurately, this will help to ensure positive identification throughout the handling and analysis process.

5.5     Sample Transportation

All transported samples must be accompanied by an appropriately populated Chain of Custody Form from the sampling location to the laboratory.

The COC form includes the following information, as applicable: Sample Description, Client’s name, sample location, origination of sample, collection date and sampling conditions.

5.6    Sample receipt

Inspection of the sample upon receipt is performed.

5.7    Sample custody

A sample should only be in the possession of Laboratory personnel. A sample is considered under a staff member’s custody if any of the following apply:

- The sample is in the physical possession of the staff.

- The sample has been secured or stored to ensure no one can tamper with the sample.

- The sample has been secured in an area to which access is restricted to authorized personnel only.

5.8   Chain of custody completion

The COC form should be completed by all entities interacting with the samples.  i.e. personnel relinquishing or receiving the sample and the reason for the same.

5.9   Sample transfer/sub- contracting

Any Personnel /staff who transfers possession to another entity i.e for subcontracting purpose, must provide two copies of the COC:

(a) a copy of the COC form for records, and

(b) a copy to accompany the sample.

5.9   Storage of COC Forms

The COC form should be stored at the Aquacheck laboratories in accordance to document retention policy.

6.0 APPENDIX 1- Chain of custody form

AQC.QP5-F27: CHAIN OF CUSTODY FORM(COC)

Field COC form

| Chain of custody record |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Preservative: |  | Type of test: Full Chemical analysis □ Microbiological analysis □ Other……………………………………………………………………………. |  | Client: Contact: Address: |  |
| Number of Containers: |  |  |  |  |  |
| Field sampler: Sampling form No: Signature: |  |  |  |  |  |
| Date | Time | Site/Location | Sample type | Sample ID | Remarks |
| Relinquished by: |  | Received by: |  | Comments |  |
| Signature: |  | Signature: |  |  |  |

Laboratory COC form

| Chain of custody record |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Client name: Client contact: |  | Sampling date: Sampling location: |  | Sampling form No: Test Requisition form No: |  |
| Sample description: Test requested…………………………………………………………………………………………………………………………. |  |  |  |  |  |
| Sample ID | Number of containers | Date received | Date of analysis | Date of Report issue | Comments |
| Sample ID | Relinquished by: Signature: | Received by: Signature: | Time | Date | Reason for change of custody |
| Sample ID | Number of containers | Date stored | Storage period | Disposal date | Comments |
| Sample ID | Relinquished by: Signature: | Disposed by: Signature: | Time | Date | Reason for change of custody |

-End of Document-