STANDARD OPERATING PROCEDURE

FOR

SAMPLE RECEIVING AND HANDLING

1.0	SCOPE AND APPLICATION

This Standard Operating Procedure (SOP) describes stepwise procedure of Receiving and handling of samples in the laboratory, which helps to ensure sample accountability, sample integrity, prevent mix up and overall quality handling of samples. The procedure helps in identifying the samples and tracking them at every stage of processing or analysis within the laboratory.

2.0	REQUREMENTS

- Stickers

- Permanent Maker pen

- Nitrile gloves

- Writing pen

3.0	Sample Reception

All samples should be properly collected, identified and correctly transported from sites to the

receiving laboratory in a transportation box or an individual biohazard plastic bag. Samples

submitted for analysis must be accompanied by an Analysis Request Form. Samples brought by the client immediately on arrival, fill in the test requisition form and upon receipt of the sample, the following initial steps should be taken:

  - Document the date and time of sample receipt on sample registry book.

  - Assign sample identification in the laboratory.

  - Verify that the sample identification on the Analysis Request Form matches the

identification on the sample.

  - Examine the sample visually to evaluate acceptability.

  - Review the Analysis Request Form to check the sample suitability.

  - Determine the suitability, with respect to the test(s) ordered, to the transport conditions,

including the following:

      - Transport medium or preservative for the sample

      - Temperature of the sample upon receipt,

      - Length of time between sample collection and receipt,

      - Transport container integrity, i.e. no leaks or cracks.

4.0	 Sample labelling

Accurate labelling of samples in reference to laboratory test requisition forms is very important for safe and effective sample identification. Each sample container should have a sticker containing the following information obtained from test requisition form.

  - Laboratory Sample ID

  - Sampling date

  - Sampling location

  - Required Test

5.0	 Sample Handling

The analyst receiving a sample for analysis must ensure that it is kept under proper storage conditions in accordance with the demands of the test procedures. Always remember not to handle the sample barehandedly. Gloves should be always put on when handling the sample.

Samples must be properly stored to ensure integrity (refrigerated, or ambient temperatures).

Microbiology Samples should be stored away from all standards, food and other potentially contaminating sources. Samples should be stored in such a manner as to prevent cross contamination.

Perform the analysis as soon as possible after Receiving. Some analysis results are highly dependent on a short timespan between sampling and analysis.

6.0	Appendix 1: Test requisition form

| TEST REQUISITION FORM |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Customer Information |  |  |  |  |  |
| LPO-Order NO: Customer Name: Address: Tel Number: Email: |  |  | Sampling date and time: Sampling Location: Other information (if applicable) Drilling date: Borehole Dept: |  |  |
| Sample Lab ID | Sample Description |  | Sample container |  | TEST |
|  |  |  | volume | Type |  |
| Laboratory Standard: ___________________________________________________ |  |  |  |  |  |
| PAYMENT: Cash/Cheque/E-money Amount _____________________ |  |  |  |  |  |
| Customer Declaration: I hereby agree to the terms and conditions stated in this form and request Aquacheck laboratories ltd to proceed with the requested laboratory tests. Requested by: ________________________________ Signature: ___________________________________ Date: _______________________________________ Turn Around Time: ____________________________ |  |  |  |  |  |
| Received By |  |  | Signature |  |  |
| Received Date |  |  |  |  |  |

TERMS AND CONDITION OF THE SERVICE

By signing this form, the client authorizes Aquacheck laboratories ltd to sub contract the services.

The subcontracted lab is competent to carry out the test(s) and complies with ISO 17025:2017.

The laboratory will not be held responsible for any sampling errors.in consideration of the service, the Turn Around Time is agreed between Aquacheck laboratory ltd and the customer.

Aquacheck laboratories ltd reserves the right to reject any sample not satisfying the volume, container, water type and storage conditions requirements.

FORM NO: AQC.QP1.F1	H2O Analysis

.

7.0	References

- Hach water analysis handbook 7th edition

- Standard methods for the examination of water and waste water 23rd edition